Sicangu Mni Wiconi Water System

2019 Water Quality Report (pws #4690516 C/SWP)

March, 2020

A look at your local water quality:

In compliance with the 1996 Safe Drinking Water Act Amendments, Sicangu Mni Wiconi Water System is providing our water users with this report on the quality of our drinking water. This report presents data compiled during the past twelve months from January 1, 2018 to December 31, 2019.

RST-Rural Water Systems is pleased to inform the public that the water is “safe” and meets all federal Drinking Water Standards.  During this reporting year the water was tested monthly for bacteriological contaminants, quarterly for Disinfection By-Products (DBPs), and Unregulated Contaminants.  All water samples were analyzed at an USEPA certified laboratory.  Reports are on file at the RST-Rural Water Systems office, OSTRWSS Treatment Plant, USEPA Region 8 office, and contract lab.  RST-Rural Water Systems annual water quality report for Sicangu Mni Wiconi can be seen at https://www.rosebudsiouxtribe-nsn.gov/reports.  A copy of the 2019 Consumer Confidence Report can be requested from the OST-Mni Wicoini Water Treatment Plant, Ft. Pierre, SD at (605) 223-9292.

You should know:

Some persons may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune disorders, some elderly and infants can be particularly at risk from infections.  These people should seek advice about drinking water from their health care providers.  EPA/CDC guidelines on appropriate means to lessen risk of infection by Cryptosporidium are available from the Safe Drinking Water Hotline (1-800-426-4791).

Did you know:

Contaminants that may be present in source water include:

- Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife

- Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

- Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

- Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and from gas stations, urban stormwater runoff, and septic systems.

- Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, EPA prescribes regulations that limit the amount of certain contaminants in water provided by public water systems.  FDA regulations establish limits for contaminants in bottled-water that must provide the same protection for public health.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling RST-Rural Water Systems at (605) 747-2378 or the EPA’s Safe Drinking Water Hotline (800) 426-4791.

Water Source:

Your water comes from the OST-Mni Wiconi Core Plant in Ft. Pierre, SD.  Surface water from Lake Sharpe located directly below the Oahe Dam is collected through a large intake pipe located 75 ft. off shore and 19 ft. below the water surface at high level in the main channel of the Missouri River.  The finished treated water meets or exceeds the Safe Drinking Water Act (SDWA) requirements for drinking water which is distributed to residential users.

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water

travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Treatment:

The surface water undergoes a chloramination process, which introduces a combination of chlorine and ammonia to the raw water source. Chloramines are used as a disinfectant to eliminate or protect against coliform bacteria and other pathogenic contaminants.

Bacteriological Monitoring:

Bacteriological monitoring is performed monthly to test for the presence of coliform bacteria, fecal coliform, and E.coli.  Your system is required to collect six monthly samples as defined by the size and population served.  An approved sampling plan is in place to collect routine samples throughout the system each month.

Chemical Monitoring:

Note to our water users: The USEPA requires us to monitor for certain contaminants or parameters in source waters before systems are initiated.  Samples are required once again during a three-year compliance period.  Any contaminants over the MCL reported in the initial sampling will have increased sample-monitoring schedules.  Systems reporting low to zero levels may be allowed to take fewer samples during the compliance period.  Our water systems also participated in quarterly Unregulated Contaminant Monitoring Rule (UCMR 4) compliance testing and analysis.  Unregulated contaminates are those, for which EPA has not established drinking water standards.  The purpose of unregulated contaminate monitoring is to assist EPA in determining the occurrence of unregulated contaminants in drinking water and whether future regulation is warranted.


Lead Monitoring:                                                                                                                                                                                                                                        If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  The Sicangu Mni Wiconi Water System is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your drinking water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

Local water quality contacts:

Questions regarding your local water quality can be directed to Young Colombe at RST-Rural Water Systems at (605) 747-2378.  The OST-Mni Wiconi Water Treatment Plant can be reached at (605) 223-9292.  Our commitment is to provide quality water on tap to the people of Corn Creek, Black Pipe, Swift Bear, Horse Creek, City of Mission, South Antelope, and Sicangu Village communities.

| 2019 Water Quality Surface Water Source |
| --- |
| Contaminants | Detected Level | MCL | MCLG | Violation | Major Source |
| Total Coliforms | 0 | 1 pspm | P/A | N | Naturally present in environment and human and animal fecal waste. |
| Lead Copper | 0.37 2.1 | 1.3 mg/L 15 ppb | 1.3 0 | N N | *Erosion of natural deposits; Leaching from wood preservatives; Corrosion of household plumbing systems. *Corrosion of household plumbing systems; Erosion of natural deposits. |
| TTM HAA | 23 ug/L 11 ug/L | 80 ug/L 60 ug/L | NA NA | N N | *By-product of drinking water disinfection. *By-product of drinking water disinfection. |

| Unregulated contaminants 4 | Detected level Range | Detected level Average | MRL | Violation | Major Source |
| --- | --- | --- | --- | --- | --- |
| Manganese | 1-25 ug/L | 9.93 ug/L | 0.4 ug/L | N | Not found free in nature but in minerals and iron. |
| 1-butanol | 2.2 ug/L | 2.2 ug/L | 2.0 ug/L | N | Alcohols |
| HAA5 | 0.9-28.33 ug/L | 11.8 ug/L | N/A | N | *By-product of drinking water disinfection. |
| HAA6Br | 1.03-10.38 ug/L | 5.47 ug/L | N/A | N | *By-product of drinking water disinfection. |
| HAA9 | 1.61-37.98 ug/L | 16.7 ug/L | N/A | N | *By-product of drinking water disinfection. |

mg/L =  Milligrams Per Liter	ug/L = Micrograms Per Liter      	MCL = Maximum Contaminant Level	TTMs=Total trihalomethanes

MFL = Million Fiber per Liter	pCi/L = Picocuries per Liter	MCLG = Maximum Contaminant Level Goal	ND = Non Detect

HAAs=Haloacetic Acids	MRL=Minimum Reporting Level	HAA5, HAA6Br, HAA9-Haloacetic Acid Groups

pspm=positive sample per month	P/A=Presence/Absence	DBPs=Disinfection By-Products