St. Francis Water System

2018 Water Quality Report (pws #4690020 C/GW)

July, 2019

A look at your local water quality:

In compliance with the 1996 Safe Drinking Water Act Amendments, St. Francis Water System is providing our water users with this report on the quality of our drinking water. This report presents data compiled during the past twelve months from January 1, 2018 to December 31, 2018.

RST-Rural Water Systems is pleased to inform the public that your water is “safe” and meets all federal Drinking Water Standards. During this reporting year the water was tested monthly for bacteriological contaminants, Disinfection By-products, Nitrates, and Volitale Organic Chemicals (no detects).  All water samples were analyzed at an USEPA certified laboratory.  Hard copy reports are on file at the RST-Rural Water Systems office, USEPA Region 8 office, and contract lab.  RST-Rural Water Systems annual water quality report for St. Francis Water System can be seen at https://www.rosebudsiouxtribe-nsn.gov/reports.

For additional information concerning this report please call RST-Rural Water Systems Director Young Colombe at (605) 747-2378.

You should know:

Some persons may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune disorders, some elderly and infants can be particularly at risk from infections.  These people should seek advice about drinking water from their health care providers.  EPA/CDC guidelines on appropriate means to lessen risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).

Did you know:

Contaminants that may be present in source water include:

- Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

- Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

- Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

- Organic chemical contaminants including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, can come from gas stations, urban stormwater runoff, and septic systems.

- Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, EPA prescribes regulations that limit the amount of certain contaminants in water provided by public water systems.  FDA regulations establish limits for contaminants in bottled-water that must provide the same protection for public health.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling RST Water & Sewer (605) 747-2378 or the EPA’s Safe Drinking Water Hotline (800) 426-4791.

Our Water Source:

Our ground water comes from the Ogallala Aquifer.  The Ogallala Aquifer is one of the world’s largest and best water sources extending from Texas to Southern South Dakota.  An isopach map generated indicates that the aquifer thickness ranges from 90-190 feet with lithology comprised of siltstone to fine or medium grained sandstone with TDS lower than 500 ppm.  Currently, the St. Francis Water System uses four (4) production wells to pump water from the aquifer into our system.

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water

travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Source Water Information:

Source Water Name			Type of Water		Report Status			Location

Well 01					GW			Active				School

Well 02					GW			Active				NW

Well 03					GW			Active				NE

Well 04					GW			Active				South

Treatment:

Our ground water system is treated with a small amount of chlorine.  Chlorine is used as a disinfectant to eliminate coliform bacteria and pathogenic viruses.  Municipalities are required by law to treat their water systems to prevent water borne illnesses.

Bacteriological Monitoring:

Bacteriological monitoring is performed monthly to test for the presence of coliform bacteria, fecal coliform, and E.coli.  Our system is required to collect two samples per month as defined by the size and population served.   The samples indicated one Total Coliform positive sample during this reporting period.  A repeat sample was collected and the system was bacteriologically safe at the times of sampling.

Chemical Monitoring:

Note to our water users: The USEPA requires us to monitor for certain contaminants or parameters in source waters before systems are initiated.  Samples are required once again during a three-year compliance period.  Any contaminants over the MCL reported in the initial sampling will have increased sample-monitoring schedules.  Systems reporting low to zero levels may be issued a waiver and allowed to take fewer samples during the compliance period.

Lead Monitoring:

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  The St. Francis Water System is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your drinking water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

Local water quality contacts:

Questions regarding your local water quality can be directed to Young Colombe at RST-Rural Water Systems (605) 747-2378.  Our commitment is to provide quality water on tap to the people of St. Francis, Spring Creek, and Two Strike areas.